The Fire Prevention Division is located at 1751 Cerrillos Road Fire Station 3A. Shall have a current Certificate of Fitness with the State of New Mexico, below are the requirements for the submission of Alarm, Sprinkler, and Hood Plans for review. Payments must be made to the Cashier’s office at 200 Lincoln Ave., Santa Fe NM 87501, Phone number 505-955-6557 or by e-mail cashier@santafenm.gov .Proof of receipt required for plan review along with invoice. Payment can be made with a check, money order or debit/credit card.

ALARM PLANS Complying with NFPA 72 (current adopted edition)

$50.00 check/money order at time of submitting plan for review:

1. 3 complete copies of plans must be submitted.

2. Plans must have the correct address.

3. Plans must have the name of the owner/occupant.

4. Plans must have installed contractor’s contact information provided.

5. Voltage calculation sheets must be provided.

6. Plans must show the location of the Fire Alarm Control Panel.

7. Plans must verify whether it is a new system or a modification to the existing system.

8. Plans must denote the removal and/or placement of new appliances.

9. Plans must include Manufacturer cut sheets and proof of UL listing.

10. Plans are required to have a Professional Engineer stamp AND a NICET level III/IV per IFC (current adopted edition).

SPRINKLER PLANS Complying with NFPA 13, 13R, 13D (current adopted edition) - $50.00 commercial modifications or residential new/modifications, $150.00 commercial new systems, check/money order at time of submitting plan for review:

1. 3 complete copies of plans must be submitted.

2. Plans must have the correct address.

3. Plans must have the name of the owner/occupant.

4. Plans must have installed contractor’s contact information provided.

5. Appropriate appliance cut sheets must be provided.

6. Hydraulic calculation sheets must be provided.

7. Plans must denote the removal and/or placement of new appliances.

8. Riser detail is required to be included on all plans, new or existing.

9. Plans must include Manufacturer cut sheets and proof of UL listing.

10. Plans are required to have a Professional Engineer stamp AND a NICET level III/IV per IFC (current adopted edition).

COMMERCIAL COOKING SYSTEMS / HOODS / PLANS Complying with IFC (current adopted edition) and NFPA 17A

$50.00 check/money order at time of submitting plan for review:

1. 3 complete copies of plans must be submitted.

2. Plans must have the correct address.

3. Plans must have the name of the owner/occupant.

4. Plans must have installed contractor’s contact information provided.

5. Appropriate appliance cut sheets must be provided.

6. Plans must show tie in to a new or existing alarm system.

7. Plans must verify whether it is a new system or a modification to the existing system.

8. Plans must denote the removal and/or placement of new appliances.

9. Plans must include Manufacturer cut sheets and proof of UL listing.

10. Plans are required to have Professional Engineer stamp as per IFC 2021 (current adopted edition).

SCOPE OF WORK / MODIFICATION:

If a scope of work is warranted and complies with the NFPA standard there will be a fee of $50.00

1. 3 complete copies of scope of work/ modification must be submitted.

2. Scope of work/modification must have the correct address.

3. Scope of work/modification must have the name of owner/occupant.

4. Scope of work/modification must have installed contractor’s contact information provided.

5. Plans are required to have a Professional Engineer stamp AND a NICET level III/IV per IFC (current adopted edition).

PLEASE ALLOW UP TO 14 BUSINESS DAYS FOR YOUR SUBMITTAL TO BE REVIEWD AND RETURNED TO APPLICANT